Albania

Vlore Power Station

##### Implementation of the Environmental Management Plan

##### Terms of Reference for Technical Assistance

1. Background

  - Power Sector

The principal company responsible for production, transmission and distribution of electricity in Albania is the Albanian Power Corporation (KESH sh.a.), which was established in 1957 and converted to a joint-stock company with 100% state-owned shares in 1995.

KESH is the largest and only electricity provider in Albania serving more than 820,000 consumers, with fixed assets currently valued at 23 billion ALL and a total income of  20.5 billion ALL in 2003.

KESH’s generating capacity includes three hydropower plants on the Drin River Cascade, with a total installed capacity of 1,350 MW (Fierze – 500 MW, Komani – 600 MW, and Vau I Dejes –250 MW) plus some smaller plants on other rivers.  It has only one thermal power plant, at Fier.  This plant has an installed capacity of 159 MW consisting of five Chinese built units (two units of 12 MW and three units of 25 MW) and a 60 MW Czech built unit.  The plant operates on heavy fuel oil produced by the Fier refinery.  The units are in a bad state of repair and available capacity is only about 20 MW.

The transmission system, belonging to a separate Transmission System Operator, whose shares are owned by KESH, consist of 120 km of 400 kV lines, 1,100 km of 220 kV, 50 km of 150 kV, 1,200 km of 110 kV and over 1,200 km of 35 kV.   The distribution system consists of 140 km of 20 kV lines, 5,620 km of 10 kV lines, 2,860 km of 6 kV lines, and 13,600 km of 0.4 kV lines.

Under a grant from the United States Trade and Development Agency (USTDA), the Government of Albania retained Montgomery Watson Harza (MWH) to select the best site, conduct a technical and financial feasibility study and conduct an Environmental Impact Assessment (EIA) of the proposed generating facility.  MWH selected a six hectare Greenfield site adjacent to the offshore oil tanker terminal located on the Adriatic cost north of the Port of Vlore (Vlore site) as the location of a distillate oil-fired, base load, combined cycle generation plant.  The recommendation was accepted by the Ministry of Energy and KESH on June 21, 2002.  Subsequently, MWH conducted an EIA and an Environmental Management Plan (EMP) for the proposed facility and submitted a final report in October 6, 2003 (Reference 1).  The plant will be constructed with financing from the International Development Association (IDA), the EBRD and the EIB.

  - Environmental issues

In concert with the changing political and economic situation in Albania, KESH has been looking to resources outside Albania in developing new capacity.  New programs are conducted with consideration of European Union and other international guidelines for environmental programs.

Among the issues that KESH faces in Albania with respect to environmental programs are Albania lacks implementing actionable regulations for its laws concerning environmental protection and worker health and safety, KESH has in the past lacked internal capability to track environmental performance and comply with requirements of donor institutions for environmental impact assessments for its new programs, KESH’s current thermal power plant (Fier) is in disrepair and has been observed to emit pollutants that impact air, water, soil and lacks understanding of its environmental performance and KESH is planning to build a new thermal power plant in Vlore that is intended to comply with all EU standards for environmental tracking.

Therefore, KESH has embarked on a program of developing internal capacity for handling its environmental health & safety (EHS) responsibilities.  KESH has a clear goal of establishing a program for today’s capacity while planning for growth to eventually match the expectations of the EU.

In the past year, KESH has developed a central Environmental Management Unit (EMU) with responsibility for environmental, health and safety (EHS) programs across all its facilities. Working with KESH management, the facility personnel, and the relevant Albanian ministries, the EMU has begun developing the central programs required for responsible management of EHS at KESH.  All programs are being developed to be in accordance with European Union (EU) recommendations and ISO 14001 guidelines. During eight months of, 2003 KESH-EMU has been structured and trained by an internationally selected consulting company financed by World Bank under PSRRP (Power Sector Reconstruction and Rehabilitation Project).

KESH purchased a mobile air monitoring station which has been put into use at Vlore PP construction site. The station contains sampling ports for nitrogen xides (NOx), sulfur dioxide (SO2), carbon dioxide (CO2) and carbon monoxide (CO). A meteorological station is also included, which measures air temperature, relative humidity, atmospheric pressure and wind speed and direction.

As part of the EIA, an environmental management plan (EMP) was developed consisting of recommendations on mitigation, monitoring, and institutional measures to be taken during implementation and operation of the plant to eliminate, offset or reduce adverse environmental and social impacts.  The EMP noted that the EIA was based on limited site-specific data and recommended specific follow-up studies to be conducted during construction and operation of the plant. The EMP also listed several good engineering practices and best management practices during the construction and operational phases to mitigate environmental impacts. These mitigation measures are expected to be implemented by the EPC and other contractor(s) and EMU will monitor the implementation.

The World Bank prepared a project appraisal document dated October 14, 2003 (Reference 2) for a proposed credit to Albania for construction of the proposed plant under the Power Sector Generation and Restructuring Project (PSGRP).  It was agreed under the project that KESH will prepare follow-on studies and ensure the implementation of the environmental mitigation measures listed in the EMP.  The IDA credit for the project will finance the subject technical assistance.

2. Objectives

The objectives of the technical assistance are to:

  - Update the ambient air quality impact assessment in the EIA using site-specific ambient air quality and meteorological monitoring data being collected by KESH since February 2004;

  - Train the core unit of EMU to enable them to monitor implementation of environmental mitigation measures listed in the EMP by the EPC and other contractor(s) during construction and operational phases;

  - Review the Oil Spill Prevention and Response Plan for the plant prepared by the EPC contractor;

  - Prepare a Supplementary Environmental Assessment for all studies included in scope of the project done by the EPC Contractor.

3. Specific Tasks

The consultant in collaboration with KESH will complete the following specific tasks:

Objective 1: 		Updating Ambient Air Quality Impact Analysis

  - Perform critical review and evaluation of the site-specific ambient air quality monitoring data being collected at the Vlore site since February 2004 and process the data to meet the acceptable data quality and format for use in ambient air quality impact analysis.

  - Perform critical review and evaluation of the site-specific meteorological monitoring data being collected at the Vlore site since February 2004 and process the data to meet the acceptable data quality and format for use as background concentration in ambient air quality impact analysis.

  - Conduct simulations with the ISCST3-PRIME or an equivalent model internationally accepted and valid for air quality estimation in a coastal environment similar to the Vlore site to update the ambient air quality impact analysis in the original EIA. Note: ISCST3-PRIME model was used in the original EIA (Reference 1) by MWH  As a minimum, the model should provide air quality estimates for NOx and SO2 from the operation of the Vlores power facility for the same averaging periods as defined by: (a) Albanian air quality standards, (b) World Bank air quality recommendations, and/or (c) EU air quality standards. The model should superimpose background air quality measurements with the incremental contribution from the power station operation to provide an estimate of overall air quality impacts. The results are to be compared to the aforementioned air quality standards. Again as a minimum, air quality should be estimated at the points of ground level maximum values and at the closest sensitive receptors (e.g. population centers, schools, hospitals, ecologically protected areas etc.). The modeling effort is to be repeated with an additional power station of the same design also operating at the Vlore site, in essence doubling the capacity at Vlore.

  - Prepare a report (as a supplemental EIA) for the ambient air quality analysis

Objective 2: 	Training EMU Core Team on Monitoring of Environmental Impact Mitigation Measures

During the construction and operational phases, site activities are expected to impact the environmental media.  Adequate measures will be taken by the contractors to mitigate the environmental impacts.  These measures include:

- Measures to minimize fugitive dust and gas emissions to atmosphere

- Measures to minimize the quantity and pollutant load of discharge water streams (construction, operation, storm events)

- Measures to minimize impact of oil/chemical spills on soil and discharge streams

The EMU Core Team plans to develop procedures to monitor implementation of environmental impact mitigation measures by contractors during construction and operation of the plant. For this, the EMU Core Team needs to be trained on the best practices for the mitigation measures.

  - Develop training documents for each segment of environmental mitigation measures mentioned above, to be implemented by contractors in construction and operational phases. .  The training should be adequate to allow the EMU Core Team to review and comment on the environmental impact mitigation plans submitted by the contractors.

  - Develop checklists to monitor the implementation of the environmental impact mitigation measures by the contractors.

  - Conduct workshops to train EMU core team to develop capacity for the monitoring

  - Propose  Vlore CCPP Facility Environmental Monitoring Resource Plan.  Based on all environmental monitoring required during the operation of the plant after handover from the contractor to KESH, the Plan will describe resources (personnel and equipment) necessary to conduct the monitoring, approximate cost of equipment to be acquired for monitoring, training required for facility environmental personnel and EMU to conduct the required monitoring, the proposed organizational structure of the facility environmental personnel, and a responsibility matrix for conducting monitoring.

Objective 3: 	Review  Oil Spill Prevention and Response Plan Prepared by EPC Contractor

  - Identify  all operations at the plant with potential for oil spills during construction and operation phases

  - Based on the plant-specific information, critically review the comprehensive Oil Spill Prevention and Response Plan prepared by the EPC contractor.  Ensure that the Plan includes:

3.10.1 Potential oil spill scenarios based on planned plant design and

operation

    - Typical prevention measures to eliminate or reduce spills

    - Typical countermeasures to reduce, eliminate or off-set impacts from spills

    - Key elements of an emergency response plan considering site-specific constraints

    - Spill prevention and emergency response equipment necessary for implementation of the plan and an estimate of their costs

  - Prepare a report on staff requirements for EMU in both numbers, skills, and details of any necessary training to implement the Oil Spill Prevention and Response Plan, as well as cost estimates for this institutional strengthening.

Objective 4: 	Prepare a Supplementary Environmental Assessment for all studies included in scope of the project done by the EPC Contractor.

3.12  In this Supplementary Environmental Asessment will be reviewed and assessed the EMP for OH Transmission Lines, study for location and construction period for intake and outfall structure, plan for final grading and and landscaping of the site, sediment control plan, waste management plan, noise and vibration plan.

4.  Reporting and Review:

At a minimum, the consultant will submit the reports and documents listed in the table below.  However, other working papers may be required during the studies. The Consultant may wish to propose alternatives, but the reasons must be offered in writing as to the advantages of each proposed alternative. The Consultant will clearly distinguish between three objectives of the project and allow for adequate review of the reports.

| Report/Documents | Schedule for Submittal |
| --- | --- |
| 1: Inception report consisting of confirmation or modification of the project plan based on preliminary review | 4 weeks after project inception |
| 2: Technical report on evaluation of and recommendation(s) on ambient air quality monitoring and meteorological monitoring data being collected by KESH | 12 weeks after project inception |
| 3: Technical report on evaluation of site-specific and project-specific data received from EPC contractor/KESH for developing ambient air quality analysis and | 6 weeks after receipt of all data from EPC contractor/KESH |
| 4: Draft updated ambient air quality impact analysis | 12 weeks after receipt of all site-specific data from EPC contractor/KESH (1) |
| 5. Training documents and checklists for EMU review and approval on the monitoring of the environmental mitigation measures and environmental monitoring resource plan | 24-40 weeks after inception of project |
| 6. Report on review of Oil Spill Prevention and Response plan prepared by EPC contractor | 4 weeks after receipt of site-specific data and plan from EPC contractor/KESH |
| 7. Supplementary Environmental Assessment to all other studies and plans made by EPC contractor. | 4 weeks after receipt of specific studies by EPC contractor/KESH |
| 8. Short progress reports | Monthly |
| 9. Final reports | 4 weeks from receipt of all comments on draft reports from KESH and the World Bank |

(1)  The schedule for this task will depend on successful collection of at least one year of ambient air quality and meteorological monitoring data by KESH.

Reports will be submitted to the Director of Foreign Projects who will appoint a Technical Committee for review and evaluation. All reports and analyses shall be prepared in both electronically and in hard copy.  Any software used in the project will be supplied to KESH with user’s instructions and training of the software(s) will be provided to EMU at the completion of the study.

All of reports shall be submitted in English language

5.  Training Workshops

The Consultant will arrange for training workshops to the core management unit of the newly created EMU on each project objective. At a minimum, the workshops will include following topics:

- Procedure for ambient air quality impact analysis and interpretation of results

- Training of EMU core team on monitoring and inspection of environmental mitigation measures taken by contractors during construction and operational phases

- Procedure for implementing the oil spill prevention and response plan

Additional workshops may be required to ensure the knowledge transfer to the EMU core team.

6.  Staffing and Timing

The estimated number of professional staff month required for the assignment is 12 man-months.

The total assignment estimated to be completed within 16 months of the contract signing.

Award of the contract estimated to be before September 2005.

7.  Location of Work

The study should be carried out at the Vlore site and in Tirana.

8.  References

- Final Environmental Impact Assessment – Vlore Combined Cycle Plant, prepared by MWH Consulting dated October 6, 2003 and Final EIA Addendum of March 2004.

- Project Appraisal Report on a Proposed Credit in the Amount of $25 Million to Albania for the Power Sector Generation and Restructuring Project, Dated October 14, 2003.

- EPC Contract Bid Documents Annex 5 Environmental Management Plan dated February 2005

# Footnotes

Thus for example, if air quality standards are for daily maximum, and annual averages. The modeling results should be offered for the same time periods so that a direct comparison with standards can be made.