District National Committee in Levice, Dpt. of Building and Territory Planning

Ref.: Vyst. 2010/86						     Levice, on Novemeber 12, 1986

Rubber stamp:

District National Committee

Dpt. of Building and Territory Planning

––––––––––––––––––––––––––––––––––-

This building permit

entered in force on January 23, 1987

Signature: Head of Dpt.

B U I L D I N G   P E R M I T

Builder, EMO – Nuclear Power Plants, concern, working place Prazska street 29, Bratislava, submitted an application on September 24, 1986, to issue a building permit for building

„Nuclear power plant Mochovce WWER 4x440 MW building 3“,

for location of which present Building Office issued a decision on October 22, 1980 under reference number Vyst. 3865/80, which the Office completed by the decisions issued on July 10, 1981 under reference numbers Vyst. 2044/81 and Vyst.3818/81 issued on January 1, 1982.

Present Department of Building and Territory Planning as a the building office charged by the Department of Territory Planning of National County Office for Western Slovakia in Bratislava  by the decision reference number UP 416/1980-1982/Zs dated September 1,1982, heared during the building administrative procedure  with interested national authorities and with noted participants of procedure the application.

Building Office reviewed the application according to the § 62 of the law No. 50/1976 (Building Code) and took following decision:

The building

„Nuclear Power Plant Mochovce WWER 4x440 MW building 3“,

consisting of structures:

| 1 | 330/1-020 | Fencing – part II |
| --- | --- | --- |
| 2 | 330/1-02 | Garden arrangements of power plant territory – part II |
| 3 | 330/1-03 | Garden arrangements out of fencing |
| 4 | 331/1-03 | Recultivation of Mochovce village territory |
| bl. No.120/86-Vyst. |
| Hand written complement:+ 301/1-02 Recultivation of Mochovce village decision. 616/92 AE-Je: dated Dec.23,1992 |
| 5 | 331/1-02 | Subsidiary recultivation |
| 6 | 332/1-01 | Garden arrangements of Mochovce village territory |
| 7 | 340/1-02 | Outer lighting – part II |
| 8 | 350/1-02 | Trenches and channels for power cabling – part II |
| 9 | 351/1-02 | Power line ways – part II |
| 10 | 352/1-02 | Trenches and channels for weak current cabling – part II |
| 11 | 353/1-02 | Main earthing network - part II |
| 12 | 383/1-02 | Heat network on power plant site – part II |
| 13 | 400/1-03 | Piping bedding up to + - 0.0 – construction works part II |
| 14 | 400/1-04 | Groundwork and covering of piping bridge between Auxiliary building I and RAW |
| 15 | 401/1-02 | Piping channels – part II |
| 16 | 442/1-02 | Diesel generator station for reactor building II |
| 17 | 442/1-04 | High pressure compressor station for reactor building II |
| 18 | 442/1-06 | Oil system II, GDS |
| 19 | 490/1-02 | Machine building of reactor building II |
| 20 | 490/1-04 | Basement of turbo generators 31,32,41,42 |
| 21 | 510/1-02 | Basement of transformers for reactor building II |
| 22 | 522/1-02 | Outer switchyard 100 and 400 kV in range of reactor building II |
| 23 | 566/1-02 | Tapping of diesel and channels for diesel generator station II |
| 24 | 566/1-04 | Tapping of oil |
| 25 | 568/1-02 | Diesel system for diesel generator station II |
| 26 | 622/1-02 | Basement for transversal rail for transformer of reactor building II |
| 27 | 800/1-02 | Building of reactors building II |
| 28 | 801/1-02 | Auxiliary building for reactor building II |
| 29 | 802/1-03 | Connecting bridge between reactor building II and auxiliary building II |
| 30 | 802/1-04 | Connecting bridge between reactor building I and reactor building II |
| 31 | 803/1-02 | Ventilation stack of reactor building II |
| 32 | 804/1-02 | Air conducts to the ventilation stack of reactor building II |
| 33 | 805/1-02 | Longitudal rooms for electric equipment of reactor building II |
| 34 | 806/1-03 | Transversal rooms for electric equipment at unit 3 |
| 35 | 806/1-04 | Transversal rooms for electric equipment at unit 4 |
| 36 | 808/1-01 | Disposal of radioactive waste |
| 37 | 810/1-03 | Emergency feed water system for unit 3 |
| bl. No.121/86-Vyst. |
| 38 | 810/1-04 | Emergency feed water system for unit 4 |
| 39 | 942/1-02 | Walkway for guardians |
| 40 | 331/11-01 | Recultivation of areas of construction site accommodation |
| 41 | Structures of subsidiary construction site accommodation according to the plan of construction organization except for communications, water management structures and their parts, |

on the ground allotments No. 2477/2, 1751/1, 1737/2 in land registry of Mochovce village in Mochovce according to the Building Code as amended by § 25 and following decree No. 85/1976 on more detailed arrangement of building procedure and building order is

a u t h o r i z e d .

For realization of building following binding conditions are assigned:

- Building will be finished according to the documentation verified by building procedure; it is a part of this building permit. Pertinent changes must not be performed without preceeding permit of Building Office

- Builder will assure a demarcation of area position according to the decision on building location by the authorized authority or organization to perform it.

- During the building realization regulations concerning work safety and technical equipment should be observed and protection of health and life of individuals on construction site should be respected

- During the building relevant provisions (related to the construction) of  decree No. 83/1976 on provisions concerning general technical requirements for building and relevant technical standards have to be met.

- Building should be finished within 115 months from the day of entering in force at latest (rubber stamp:  Dpt. of Building and Territory Planning, District Building Office, 934 26 Levice, signature).

- Building will be realized in a supplying manner:

- supplier of civil engineering part: Hydrostav, national enterprise, nam. SNP No. 14, Bratislava

- supplier of technology part:  Vystavba Elektraren Skoda, concern, Prague

Authorized supervision upon building realization will be ensured by means of technical supervision of NPP EMO Mochovce builder.

- Individual structures shall be embedded according to the verified lay-out plan in map scale M 1 . 2000 drawing No. 413-0-032792 prepared by Energoprojekt concern, functional project and design organization, Prague, under contract reference No. 23-7453-02-001 by the dead-line 1185.

- According to the decision No. 36/86 CSKAE (Czechoslovak Commission for Atomic Energy) the builder is obliged to implement all changes resulting from presented list of differences in technical solution of initial project of building 3 construction 2 to the relevant NPP Mochovce quality programmes  by the dead-line September 30, 1989

bl. No.122/86-Vyst.

Regarding hygienic regulations it is imposed:

  - measurement of coolant radioactivity in the primary circuit by means of system for gamma spectrometric monitoring by the dead line three months before unit physical start up;

  - to realize additional provisions to eliminate possibility of integrity degradation of containers for fuel transport as a consequence of downfall by the dead line before first fresh fuel supply.

To fulfil conditions of the Slovak Office for Work Safety Bratislava introduced in the minutes dated August 28, 1986, which are the part of the written statement of the Slovak Office for Work Safety No. 2, 1.2-752/86/Sl dated September 22, 1986.

Regarding fire protection it is imposed:

- to follow comments put down in the written statement of National County Office for Western Slovakia – County Inspectorate  of Fire Protection No. PO – 167/5/86 dated  March 21,1986,

- the builder shall submit a statement of the Soviet side concerning safety solution of the structure 800/1-02 Reactors building,

- to locate a parallel signalling of basic status (auxiliary central) in fire station , structure No. 656/1-01,

-     to follow comments of the Main Administration of Fire Protection of Ministry of Interior of the Slovak Republic concerning the self-acting sprinkling equipment in cable channels and in rooms of suggested self-acting sprinkling equipment.

To respect relevant standards CSN in force during the building realization particularly CSN 34 1050, CSN 32 3320, CSN 38 2156, CSN 73 0872, CSN 73 0802, CSN 38 2156, CSN 65 0201.

- The building permit will expire if within two years since its entry in force the building will not be started

The building must not start until building permit enter in force (§ 52 par. 1 of the law

No. 71/1967).

- Builder is obliged to fulfil all conditions, which are imposed to him to authorize building and after delivery of this authorization he takes due note that he contracts to fulfil them.

- Building investor contracts to take into account all comments of authorities which will result from prepared provisions aiming at increase of nuclear safety.

R e a s o n s :

The Building Office, in the performed building administrative procedure has reviewed submitted application for the building permit looking aspects introduced in provisions of 
§ 62 par. 1 and 2 of the Building Code and found out that neither due to the realization nor by future building use interests of society are jeopardized, nor rights or legitimate interests of administrative procedure participants are excessively restricted or jeopardized. Building documentation fulfils requirements specified by the decree No. 83/1976 on general technical requirements for building as well as conditions of the territorial decision on building location. In course of building administrative procedure the Building Office has not found such grounds, which would

bl. No.123/86-Vyst.

preclude authorizing building.

Permanent exclusion of  agricultural and forest land funds was resolved in preceeding administrative procedures due to the fact that this building permit is linked with already issued building permits under reference numbers Vyst.2033/83 dated September 2, 1983; Vyst. 2199/84 dated September 28, 1984; Vyst.665/85 dated May 15, 1985 and Vyst. 974/86 dated June 27, 1986.

For structures, which could impact water circumstances, a relevant water management authority, Dpt. of Land, Forest and Water Systems of National County Office for Western Slovakia, issued according to § 13 of the law No. 138/73 a consent under reference number PLVH-4/701/1986 dated June 27,1986 and decision No. PLVH-4/1141/1986 dated October 16, 1986.

I n s t r u c t I o n

It is possible to take appeal against this decision within 15 days since its delivery. The appeal shall be submitted at this department.

Head of Department of Building

and Territory Planning

Dipl. Ing. Ondrej Juhász

Signature

Round state rubber stamp:

National District Office

Dpt. of Building

and Territory Planning

Levice

This permit will be delivered to:

- Nuclear Power plants, concern, Mochovce, 10x, together with reviewed documentation

- Supplier of civil engineering part: Hydrostav, national enterprise, nam. SNP No. 14,

Bratislava

Supplier of technology part:  Vystavba Elektraren Skoda, concern, Prague

- Local National Committee in Kalna nad Hronom

- National County Office for Western Slovakia, Dpt. of  Land, Forest and Water Systems

- National County Office for Western Slovakia - County Administration of Fire Protection

- County Hygiene Office

- Slovak Office for Work Safety Bratislava

- Land Surveyors Centre Levice

bl. No.124/86-Vyst.