|  |  |  |  |
| --- | --- | --- | --- |
|  | United Nations | ST/SG/AC.10/C.3/2020/10/Rev.1 | |
| _unlogo | **Secretariat** | | Distr.: General  4 September 2020  Original: English |

**Committee of Experts on the Transport of Dangerous Goods  
and on the Globally Harmonized System of Classification  
and Labelling of Chemicals**

**Sub-Committee of Experts on the Transport of Dangerous Goods**

**Fifty-seventh session**

Geneva, 30 November-8 December 2020  
Item 3 of the provisional agenda

**Listing, classification and packing**

Transport of portable fire extinguishers in accordance with special provision 225

Transmitted by the expert from Germany[[1]](#footnote-2)\*

Revision

Introduction

1. During the online informal discussions of the Sub-Committee held in June/July 2020 the proposal of document ST/SG/AC.10/C.3/2020/10 received comments from several experts. The expert from Germany agreed to submit a revised proposal taking into account the comments received. Therefore, the proposal has been supplemented with regard to identification/marking as well as the security of containers.

2. In accordance with special provision 225 (a), the entry for fire extinguishers (UN 1044) also comprises portable fire extinguishers. While there is no definition of portable fire extinguishers, it is assumed that completed properly functioning portable fire extinguishers are meant.

3. In practice, it is not necessary to transport completed properly functioning portable fire extinguishers, in particular for service companies which regularly carry out maintenance and inspections of the fire extinguishers and transport them to workshops and/or filling facilities. Equipment components that are required for the proper functioning such as hoses and nozzles are for the most part examined on premise, left there and reattached after returning the extinguishing agent container. For the transport of new portable fire extinguishers, manufacturers mostly do not attach such components, which are enclosed, to minimize packaging.

4. The transport of portable fire extinguishers without the components necessary for the proper functioning is comparable, in terms of safety, to the transport of completed properly functioning portable fire extinguishers, as these components mounted behind the stop valve are unpressurised. It is assumed that the transport of such individual pressurized extinguishing agent containers in accordance with the current special provision 225 as a portable fire extinguisher of UN 1044 is not possible. This is true, in particular in the case of the application of the second note in special provision 225, also for the extinguishing agent container of a portable fire extinguisher, even though this note should only apply to propellant gas cylinders for fire extinguishers and cylinders for stationary fire-fighting installations.

5. If pressurised extinguishing agent containers of portable fire extinguishers are not classified as UN 1044 like completed properly functioning portable fire extinguishers, they would have to be classified either as a gas cylinder with a UN number based on the gas contained (e.g. UN 1013 for carbon dioxide) or as UN 3500 chemical under pressure, n.o.s. and would thus have to fully comply with the provisions of Chapter 6.2. However, based on special provision 225, they are manufactured, examined, approved and labelled as a component of a portable fire extinguisher in accordance with the provisions applied in the country of manufacture.

Proposal

6. Insert an additional note between (a) and (b) of special provisions 225 as follows (new text is underlined):

“***NOTE***: *This entry applies to portable fire extinguishers, even if some components that are necessary for their proper functioning (e.g. hoses and nozzles) are temporarily detached, as long as the safety of the pressurized extinguishing agent containers is not compromised and the fire extinguishers continue to be [marked] [identified] as a portable fire extinguisher.”*

1. \* 2020 (A/74/6 (Sect.20) and Supplementary, Subprogramme 2.) [↑](#footnote-ref-2)