| UNITED NATIONS ECONOMIC COMMISSION FOR EUROPE | WORLD HEALTH ORGANIZATION REGIONAL OFFICE FOR EUROPE |
| --- | --- |

MEETING OF THE PARTIES TO

THE PROTOCOL ON WATER AND HEALTH

TO THE CONVENTION ON THE PROTECTION

AND USE OF TRANSBOUNDARY

WATERCOURSES AND INTERNATIONAL LAKES

Working Group on Water and Health

Second meeting

Geneva, 2-3 July 2009

Agenda item 10

Information paper 8

Current issues associated with swimming pools, spas and similar recreational water environments

Note by the secretariat

Article 6 of the Protocol on Water and Health obliges Parties to the Protocol on Water and Health to set targets and monitor progress towards these targets for the quality of the aquatic recreational water environment (Art 6 para 2 (k)). The Bureau of the Parties accepted an offer by the Robens Centre for Protection of Water Quality and Human Health, University of Surrey to study the current management of swimming pools, spas and similar recreational water environments, and in particular the penetration of the WHO Guidelines for Safe Recreational Waters. The outcomes of this work were presented to the Swimming Pool and Spa International Conference in March 2009 and are presented here to the second session of the Working Group on Water and Health.

The outcome of the questionnaire survey indicated that although the WHO Guidelines for Safe Recreational Water Environments are widely accepted and used by professionals there is very little consistency regarding targets for protecting human health in these recreational water environments across the countries of the European Region represented by the survey. This paper identifies some gaps in knowledge associated with the potential health risks of using these recreational water environments. The participants of the Working Group are invited to discuss and comment on the potential areas for the future work under the Protocol which include: Analysis of good practice to increase safety in pool areas; Improving and harmonizing the system for health surveillance; Technical standards for the operation of swimming pools, particularly with regard to chemical use; Harmonising legislation regarding pool operation and safety across the European Region.

- Synopsis

- In 2006 the World Health Organization published the Guidelines for safe recreational water

environments, volume 2: swimming pools, spas and similar environments (WHO, 2006). The Guidelines provide a referenced review and assessment of the health hazards associated with swimming pools, spas, hot tubs, plunge pools, natural spas and physical therapy pools; their monitoring and assessment; and activities available for their control through education of users, good design and construction, and good operation and management. The Guidelines provide both specific guideline values, for example on recommended sampling frequencies for microbial testing, and good practices, such as preventative and management actions to prevent drowning.

- The wide variety of hazards that the Guidelines cover highlight the multiple issues that need to be considered in the management and regulation of swimming pools, spas and similar recreational water environments. It is clear from this limited survey that regulations and guidelines vary considerably across Europe and there is considerable scope to harmonise the European approach to pool safety to protect public health.

- Although the risk of illness or infection associated with swimming pools, spas and similar recreational water environments is primarily through faecal contamination of the water and outbreaks are relatively uncommon, the WHO Guidelines address a wide range of other hazards including drowning and physical hazards, chemical contamination, contamination of associated facilities and air quality. They were developed over a period of ten years and involved over 60 experts in 20 countries. This is the first edition of the Guidelines. As with other WHO Guidelines as new experiences and developments in science become available these will be fed into the eventual revision of the Guidelines.

- This paper reports the outcome of a short survey to assess current issues associated with swimming pools and similar recreational water environments and to gauge awareness of the WHO Guidelines and their usefulness to practitioners in the field. The results will be fed back to WHO for inclusion in any forthcoming review process.

- Method

- A questionnaire was developed by the Robens Centre for Public and Environmental Health, University of Surrey (WHO Collaborating Centre for Water Quality and Human Health), with input from Mihaly Kadar, National Institute of Environmental Health, Budapest, Hungary, using surveymonkey – a tool to create and publish online surveys. The questionnaire was reviewed by Jamie Bartram, World Health Organization and subsequently revised and posted on the website of the Robens Centre for Public and Environmental Health in December 2008 and remained on line until February 16 2009.

- In addition, assistance was received from the Regional Adviser for Water and Sanitation at the WHO European Centre for Environment and Health to obtain the support of Parties to the WHO-UNECE Protocol on Water and Health who are obliged to set targets and monitor progress towards these targets for the quality of the aquatic recreational water environment (Art 6 para 2 (k)). The Bureau of the Parties accepted an offer by the Robens Centre for Public and Environmental Health to study the current management of recreational waters. A link to the questionnaire was provided on the website of the WHO Regional Office for Europe.Finally, an invitation to participate in the survey was posted in the publicity material for the Swimming Pool and Spa Conference 2009.

- Results

- Twenty-nine responses were received, not all comprehensively completed, from professionals related to swimming pools or similar recreational water environments. Figure 1 shows the distribution of professions answering the questionnaire - the majority (36%) were regulators, followed by researchers (23%).  The countries represented in the survey were: United Kingdom, Czech Republic, Hungary, Estonia, Switzerland, Germany, Principality of Andorra, Georgia, Netherlands, Romania and Greece.

- Forty-eight per cent of the respondents were not directly responsible for any facility. The remainder were responsible for a semi-public swimming pool (i.e. a pool within a hotel, school, health club, cruise ship etc); a public swimming pool; or a hot tub (Figure 2).

- Regulations relating to public and private swimming pools, hot tubs, spas and physical therapy pools were investigated. The majority of known regulations were for swimming pools. Only one respondent was not aware of any regulations or Guidelines specifically for public pools in their country.

- Public pools

- 95% of respondents were aware of some form of regulations or Guidelines specifically for public pools (swimming pools or plunge pools) in their country. Nationwide mandatory regulations were reported to exist in all countries for which responses were received covering various aspects of public pools. Nationwide voluntary standards are also in existence in a number of countries (Table 1). Local voluntary standards were only reported from Switzerland (for air quality) and the UK (for monitoring of water quality). Local mandatory standards were only reported by Switzerland (for monitoring of water quality).

Table 1. Regulations or Guidelines specifically for public pools by country.

|  | Nationwide voluntary Guidelines/technical standards for public swimming pools by countries | Nationwide mandatory standards |
| --- | --- | --- |
| Construction material requirements | Germany, Switzerland, Hungary, Czech Republic, UK, Romania | UK, Netherlands, Greece, Georgia, Principality of Andorra, Switzerland, Czech Republic, Romania |
| Water microbiology | UK, Germany, Switzerland, Romania | Switzerland, Netherlands, Greece, Georgia, Principality of Andorra, Germany, Estonia, Hungary, Czech Republic, Romania |
| Water chemistry | Germany, UK, Switzerland, Romania | Switzerland, Netherlands, Greece, Georgia, Principality of Andorra, Germany, Estonia, Hungary, Czech Republic, Romania |
| Filter type | Germany, UK, Netherlands, Switzerland, Hungary, Czech Republic, Romania | Switzerland, Greece, Romania |
| Filter durability | Germany, Netherlands, UK, Czech Republic, Romania | Switzerland, Greece, Estonia, Romania |
| Disinfection systems | Germany, Switzerland, Czech Republic, UK, Romania | Switzerland, Greece, Georgia, Principality of Andorra, Romania |
| Air quality | Netherlands, UK, Germany, Romania | Principality of Andorra, Czech Republic, Romania |
| User hygiene | Netherlands, Germany, Romania | Greece, Georgia, Principality of Andorra, Switzerland, Romania |
| Process equipment | Germany, Netherlands, Switzerland, Hungary, Czech Republic, Romania | Switzerland, Greece, Romania |
| Circulation system components | Germany, Netherlands, Hungary, Czech Republic, Romania | Greece, Netherlands, Romania, |
| Electrical requirements | Germany, | Netherlands, Georgia, Principality of Andorra, Hungary, UK |
| Monitoring of water quality | Germany, UK, Switzerland, Romania | Switzerland, Netherlands, Greece, Principality of Andorra, Estonia, Hungary, Czech Republic, Romania |
| Monitoring of air quality | Germany, Netherlands, Romania | Netherlands, Romania |
| New materials | Netherlands, Germany, |  |
| Biocides | Germany, Switzerland, UK | Switzerland, Netherlands, Greece, Principality of Andorra, Estonia, Czech Republic |
| Water treatment processes | Germany, Switzerland, Czech Republic, UK, Romania | Switzerland, Greece, Netherlands, Romania |
| User intensity/load | Germany, Netherlands, UK, Czech Republic, Romania | Switzerland, Netherlands, Greece, Principality of Andorra, Estonia, Hungary, Czech Republic, Romania |
| Water circulation/exchange intensity | Germany, UK, Switzerland, Czech Republic, Romania | Switzerland, Netherlands, Greece, Principality of Andorra, Hungary Estonia, Czech Republic, Romania |
| Other |  | Greece, Netherlands, Georgia, Czech Republic |

- Private pools

- In terms of private pools, only 30% of respondents were aware of any regulations or Guidelines specifically for private swimming pools in their country. These are primarily nationwide voluntary Guidelines/technical standards relevant for the following aspects of the pools (Table 2), although Switzerland has local mandatory standards for some aspects and the UK has nationwide mandatory standards for electrical requirements (not shown).

Table 2. Regulations or Guidelines specifically for private pools by country

|  | Nationwide voluntary Guidelines/technical standards | Local Mandatory standards |
| --- | --- | --- |
| Construction material requirements | Netherlands, Germany, UK |  |
| Water circulation/ exchange intensity | Germany, UK | Switzerland |
| Monitoring of water quality | Germany | Switzerland |
| Filter durability | Germany | Switzerland |
| Filter type | Germany | Switzerland |
| Microbiological standards for water quality | Germany, | Switzerland |
| Chemical requirements for water quality | Germany | Switzerland |
| Biocides | Switzerland | Switzerland |
| Disinfection systems | Germany | Switzerland |
| Water treatment processes | Germany | Switzerland |
| User intensity/load |  | Switzerland |
| User hygiene |  |  |
| Process equipment (eg UV light) |  | Switzerland |
| New materials |  |  |
| Electrical requirements | Germany |  |
| Air quality |  |  |
| Other |  |  |
| Circulation system components | Germany |  |
| Monitoring of air quality |  |  |

- Hot tubs

- More controls appear to exist for hot tubs - 57% of respondents were aware of such regulations/Guidelines in their country, with the majority of the controls being nationwide voluntary Guidelines or technical standards (Table 3). Local voluntary controls exist in the UK for user hygiene (not shown).

Table 3. Nationwide voluntary Guidelines or technical standards for hot tubs by country.

|  | Nationwide voluntary Guidelines or technical standards | Nationwide mandatory regulations | Local Mandatory |
| --- | --- | --- | --- |
| Water circulation/ exchange intensity | Netherlands, Germany, UK, Switzerland, Czech Republic, Romania | Netherlands, Switzerland, Czech Republic, Romania | Switzerland |
| Disinfection systems | Germany, UK, Switzerland, Czech Republic, Romania | Romania | Switzerland |
| Monitoring of water quality | Netherlands, Germany, UK, Romania | Czech Republic, Romania | Switzerland |
| Filter type | Germany, UK, Czech Republic, Romania | Romania | Switzerland |
| Water microbiology | Netherlands, UK, Germany, Switzerland, Romania | Germany, Netherlands, Czech Republic, UK, Romania | Switzerland |
| Water chemistry | Netherlands, Germany, UK, Switzerland, Romania | Netherlands, Germany, Czech Republic, Romania | Switzerland |
| User intensity/load | Germany, UK, Czech Republic | Netherlands, Czech Republic | Switzerland |
| Filter durability | Germany, UK, Czech Republic | Romania | Switzerland |
| Biocides | Germany, UK, Switzerland | Netherlands, Czech Republic | Switzerland |
| Water treatment processes | Netherlands, Germany, Switzerland, Czech Republic, Romania | Romania | Switzerland |
| Process equipment (eg UV light) | Netherlands, Germany, UK, Czech Republic |  | Switzerland |
| Construction material requirements | Netherlands, Germany, Czech Republic, UK, Romania | Netherlands, Czech Republic, Romania |  |
| Circulation system components | Netherlands, Germany, Czech Republic, Romania | Romania |  |
| Electrical requirements | Netherlands, Germany | UK |  |
| Air quality | Germany, Romania | Czech Republic, Romania |  |
| User hygiene | Germany, Romania | Romania | Switzerland |
| New materials | Germany, |  |  |
| Monitoring of air quality | Romania | Romania |  |
| Other |  | Czech Republic |  |

- Physical therapy pools

- Respondents were split almost equally concerning awareness of regulations/Guidelines for physical therapy pools, with 48% of respondents being aware of such controls and 52% being unaware.

- No local mandatory controls are known to exist for physical therapy pools in any of the countries that responded; most responses relate to nationwide voluntary Guidelines/technical standards; although nationwide Mandatory regulations were known to exist for some aspects of physical therapy pools in some countries.

Table 4. Guidelines or technical standards for physical therapy pools by country.

|  | Nationwide mandatory regulations by number of response and countries | Nationwide voluntary Guidelines/technical standards by countries | Local voluntary Guidelines/technical standards |
| --- | --- | --- | --- |
| Construction material requirements | Netherlands, Romania | Germany, UK, Romania |  |
| Water microbiology | Netherlands, Germany, Romania | UK, Germany, Czech Republic, Romania |  |
| Water chemistry | Netherlands, Germany, Romania | Germany, UK, Romania |  |
| Filter type |  | Netherlands, Germany, Czech Republic | Netherlands |
| Filter durability |  | Netherlands, Germany | Netherlands |
| Disinfection systems | Netherlands, Romania | Germany, UK, Romania |  |
| Air quality | Romania | Netherlands, Germany, Romania | Netherlands |
| User hygiene | Romania | Netherlands Germany, Romania | UK, Netherlands |
| Process equipment | Netherlands | Netherlands, Germany | Netherlands |
| Circulation system components | Netherlands, Romania | Netherlands, Germany, Romania | Netherlands |
| Electrical requirements | Netherlands, UK | Germany |  |
| Monitoring of water quality | Netherlands, Romania | Germany, UK, Romania, Czech Republic, |  |
| Monitoring of air quality | Romania | Netherlands, Germany, Romania | Netherlands |
| New materials |  | Netherlands, Germany, | Netherlands |
| Biocides | Netherlands | Netherlands, Germany, Czech Republic |  |
| Water treatment processes | Romania | Germany, Romania |  |
| User intensity/load | Netherlands, Romania | Netherlands, Germany, UK, Romania | Netherlands |
| Water circulation/exchange intensity | Netherlands, Romania | Germany, Czech Republic, UK, Romania |  |
| Other |  |  |  |

- Natural spas

- Most respondents (74%) were unaware of any regulations/Guidelines for natural spas. The Netherlands, Georgia and Germany are the only countries where any controls exist. Where these do exist they are either nationwide mandatory regulations or nationwide voluntary guidelines or technical standards.

Table 5. Guidelines or technical standards for natural spas by country

|  | Nationwide mandatory regulations by countries | Nationwide voluntary Guidelines/technical standards by countries |
| --- | --- | --- |
| Construction material requirements | Netherlands, Georgia, | Germany |
| Water microbiology | Netherlands, Georgia, Germany | Germany |
| Water chemistry | Netherlands, Georgia, Germany | Germany |
| Filter type | Georgia, | Germany |
| Filter durability | Georgia, | Germany |
| Disinfection systems | Georgia, | Germany |
| Air quality |  | Germany |
| User hygiene |  |  |
| Process equipment |  | Germany |
| Circulation system components |  | Germany |
| Electrical requirements | Netherlands | Germany |
| Monitoring of water quality | Netherlands | Germany |
| Monitoring of air quality |  |  |
| New materials |  |  |
| Biocides | Netherlands | Germany |
| Water treatment processes |  | Germany |
| User intensity/load | Netherlands | Germany |
| Water circulation/exchange intensity | Netherlands | Germany |
| Other |  |  |

- Awareness and relevance of the WHO Guidelines for swimming pools, spas and similar recreational water environments.

- Ninety-five per cent of respondents were aware of the WHO Guidelines for swimming pools, spas and similar water environments. In general, very positive comments regarding the Guidelines were received. They were reported to be relevant to 85% of respondents, with the majority using them as a reference document for research, or as a checklist for understanding and assessing the potential health impacts of projects involving the development of such facilities (Figure 3). Other specific uses were listed as ship inspections and for training and education; provision of the basis for new national and local regulations on swimming pools and spas; as a reference for additional indicators for the monitoring and formulation of a checklist for sanitary control.

- It was considered by 90% of respondents that the Guidelines achieve the aim of helping to protect public health. In addition, the Guidelines are considered to be well organised (100% of respondents); the material easily understood (100%) and well focused (95%). The bibliography is generally considered to be comprehensive and up to date (81% of respondents).

- The most useful section of the Guidelines was considered to be the controls to reduce microbial hazards; followed by the controls to reduce chemical hazards. The least useful was the section on implementation of the Guidelines.

- Suggestions were made for additions to be made to a future revision of the Guidelines: more details on new disinfectants; additional information on training, regular duties and responsibilities of technical operating staff; philosophies of pool water processing; updating the bibliography and other aspects; more information on hot tubs and spas; more information on risks of contamination and how to deal with them.

- Main problems associated with swimming pools, spas and similar recreational water environments

- This section was primarily answered in relation to public swimming pools (72% of responses). One respondent answered the section in relation to a private swimming pool and four respondents for hot tubs. In the past 12 months the most frequently reported problem associated with the facility in question was microbial contamination of the water, followed by chemical hazards associated with the water and physical injuries associated with users, and risks associated with plant and equipment malfunction.

- Although 50% of respondents felt there is sufficient health based evidence to support regulations and management-related interventions for the facilities in question, a further 31% did not. The most urgent research needs were cited as technical standards for operation, exposure to disinfectant by-products and types of chemicals/disinfectants applied (Figure 4). In addition, specific topics for further research were cited as investigation into the links between trichloroamine in air of indoor pools and asthma; research into adequate treatment plant for spa polls to be used by the public; research on plant room safety.

- Discussion

- The response rate to the questionnaire survey was disappointing. However, some useful indications of current issues associated with swimming pools, spas and similar water environments in 11 countries have emerged from this limited survey as well as a brief evaluation of the WHO Guidelines for swimming pools, spas and similar recreational water environments.

- Most of the respondents were regulators, without direct responsibility for managing a specific facility but with overall interest and knowledge about all types of pools. Regulations exist in all countries from which responses were received but these are inconsistent between national and local mandatory regulations, and national and local voluntary regulations. The regulations are applicable to various aspects of public and private pools and hot tubs but again, are not consistent throughout the countries that responded, although it appears that public swimming pools in all countries participating in the survey have microbiological and chemical standards for water quality. Other aspects of public pool safety are not consistently regulated throughout Europe – e.g. user hygiene, air quality and disinfection systems.  Some inconsistencies were reported between respondents from the same country, perhaps reflecting different professional roles and knowledge.

- Fewer regulations exist for private pools, natural spas, physical therapy pools and hot tubs. The hazards that exist in these types of pools vary and in the majority of cases the facilities are used safely. However, it is known that adverse health outcomes do occur, although the frequency of such events is not known.

- In general, the WHO Guidelines for swimming pools, spas and similar recreational water environments achieve their aim of providing an authoritative referenced review and assessment of health hazards associated with these types of recreational water environments and appear to be well used. Indications are that sections of the Guidelines need updating and some additional information could be added. In many cases national regulations provide more stringent controls for swimming pools than the Guidelines propose – however, all WHO Guidelines are intended to provide a basis for standard setting and should be interpreted in light of local and regional circumstances.

- Conclusion

- The results of this limited survey indicate a need for further action with regards public health issues associated with swimming pools. There is currently very little research being undertaken in this area, primarily due to the limited funding available. Some potential areas for discussion arising from the survey include:

Analysis of good practice to increase safety in pool areas

Improving and harmonizing the system for health surveillance

Technical standards for the operation of swimming pools, particularly with regard to chemical use.

Harmonising legislation regarding pool operation and safety across the European Region.

Reference

World Health Organization (2006). Guidelines for safe recreational water environments. Volume 2, swimming pools, spas and similar environments. Geneva, World Health Organization.

# Footnotes

This document has been prepared by Katherine Pond, Robens Centre for Public and Environmental Health, University of Surrey, Guildford