# UN/SCETDG/22/INF.10

COMMITTEE OF EXPERTS ON THE TRANSPORT OF

DANGEROUS GOODS AND ON THE GLOBALLY

HARMONIZED SYSTEM OF CLASSIFICATION

AND LABELLING OF CHEMICALS

Sub-Committee of Experts on the

Transport of Dangerous Goods

(Twenty-first session, 2-6 December 2002,

agenda item 2)

NOTE ON THE PROGRESS MADE ON THE WORK CARRIED OUT 
BY THE TECHNICAL COMMITTEE ISO/TC 58 GAS CYLINDERS

Transmitted by the International Organization for Standardization (ISO)

(Prepared by Dr. Chris Jubb, Chairman of ISO/TC 58)

### Overview of the Work Programme

A highlight of the work of ISO/TC58 was given to the Sub-Committee at its last meeting in July so this paper is designed to complement that by giving more details on current activities.  There are 37 active work items and these are listed in Annex A.  The following items are relevant to the Model Regulations.

### Revision of standards currently referenced in the Model Regulations

  - ISO 10156:1996	Gases and gas mixtures -- Determination of fire potential and oxidizing ability for the selection of cylinder valve outlets (under revision to accommodate a new testing method for oxygen potential)

  - ISO 7225:1994	Gas cylinders -- Precautionary labels (under revision to take account of the recent changes in the Model Regulations)

  - ISO 10297:1999	Gas cylinders -- Refillable gas cylinder valves -- Specification and type testing.(NB: All gases except LPG) (general update)

  - ISO 11117:1998	Gas cylinders -- Valve protection caps and valve guards for industrial and medical gas cylinders -- Design, construction and tests (general update)

  - ISO 6406:1992	Periodic inspection and testing of seamless steel gas cylinders (general update)

  - ISO 10461:1993	Seamless aluminium-alloy gas cylinders -- Periodic inspection and testing (general update)

  - ISO 10462:1994	Cylinders for dissolved acetylene -- Periodic inspection and maintenance (corrected and reprinted 1995) (general update)

Note: The following standard has been reconfirmed

  - ISO 11621:1997	Gas cylinders -- Procedures for change of service

### Standards which are being developed or revised and are potential candidates for future referencing in the Model Regulations

  - 15996	Gas cylinders -- Residual pressure valves -- General requirements and type testing

  - 22434 	Gas cylinders -- Valves -- Inspection and maintenance

  - 22435 	Gas cylinders -- Valves with integrated pressure regulator -- Testing

  - ISO 4706:1989	Refillable welded steel gas cylinders (under revision)

  - 20703	Gas cylinders -- Refillable welded aluminium alloy gas cylinders -- Design, construction and testing

  - 21172	Gas cylinders -- Welded steel gas drums up to 3000 capacity for the transport of gases -- Design and construction

  - 22991	Gas cylinders -- Transportable refillable welded steel cylinders for liquefied petroleum gas (LPG) -- Design and construction

  - 10464.2	Gas cylinders -- Refillable welded steel cylinders for liquefied petroleum gas LPG -- Requalification and inspection

### Standards under development or revision which support the Model Regulations but are unlikely to be referenced

  - ISO 10286:1996	Gas cylinders -- Terminology (under revision)

  - 11114-4	Transportable gas cylinders -- Compatibility of cylinder and valve materials with gas contents -- Part 4: Test method for hydrogen compatibility with metals

  - 10691 	Gas cylinders -- Refillable welded steel cylinders for liquefied petroleum gas (LPG) -- Procedures for checking before, during and after filling

  - 11372 	Cylinders for dissolved acetylene -- Inspection at time of filling

  - 11622 	Filling ratios, filling pressures and provisions for safety devices for gas cylinders

  - 11755 	Cylinders in bundles for permanent and liquefiable gases (excluding acetylene) -- Inspection at time of filling

  - 16148 	Gas cylinders -- Refillable seamless gas cylinders -- Acoustic emission testing for periodic inspection

  - 22694 	Gas cylinders -- Methods for acceptance criteria for defects in seamless steel and aluminium monolithic cylinders at time of periodic inspection and testing

  - 24431 	Cylinders for liquefied gases -- Inspection at time of filling

ANNEX A

##### List of all Work Items in progress in Technical Committee ISO/TC 58

| ISO No. | Stage | Title |
| --- | --- | --- |
| TC 58 Gas cylinders |
| 10286 | CD | Gas cylinders – Terminology |
| 11114-4 | AWI | Transportable gas cylinders -- Compatibility of cylinder and valve materials with gas contents -- Part 4: Test method for hydrogen compatibility with metals |
| TC 58/SC 2 Cylinder fittings |
| 407 | DIS | Small medical gas cylinders -- Pin-index yoke-type valve connections |
| 5145 | FDIS | Cylinder valve outlets for gases and gas mixtures -- Selection and dimensioning |
| 10156-1 | AWI | Gas cylinders -- Gases and gas mixtures -- Part 1: Determination of fire potential and oxidizing ability for the selection of cylinder valve outlets |
| 10156-2 | CD | Gas cylinders -- Gases and gas mixtures -- Part 2: Determination of oxidizing ability of toxic and corrosive gases and gas mixtures |
| 10297 | DIS | Transportable gas cylinders -- Cylinder valves -- Specification and type testing |
| 11117 | AWI | Gas cylinders -- Valve protection caps and valve guards for industrial and medical gas cylinders -- Design, construction and tests |
| 15996 | DIS | Gas cylinders -- Residual pressure valves -- General requirements and type testing |
| 22434 | AWI | Gas cylinders -- Valves -- Inspection and maintenance |
| 22435 | AWI | Gas cylinders -- Valves with integrated pressure regulator -- Testing |
| TC 58/SC 3 Cylinder design |
| 3500 | AWI | Seamless steel CO2 cylinders for fixed fire-fighting installations on ships |
| 4706 | AWI | Refillable welded steel gas cylinders |
| 12391-2 | PRF TR | Gas cylinders -- Refillable seamless steel -- Performance tests -- Part 2: Fracture performance tests -- Monotonic burst tests |
| 12391-3 | PRF TR | Gas cylinders -- Refillable seamless steel -- Performance tests -- Part 3: Fracture performance tests -- Cyclical burst tests |
| 12391-4 | PRF TR | Gas cylinders -- Refillable seamless steel -- Performance tests -- Part 4: Flawed cylinder cycle test |
| 20703 | CD | Gas cylinders -- Refillable welded aluminium alloy gas cylinders -- Design, construction and testing |
| 20704 | AWI TR | Gas cylinders -- Test methods on fracture performance for high strength aluminium |
| 21172 | AWI | Gas cylinders -- Welded steel gas drums up to 3000 capacity for the transport of gases -- Design and construction |
| 22991 | DIS | Gas cylinders -- Transportable refillable welded steel cylinders for liquefied petroleum gas (LPG) -- Design and construction |

| ISO No. | Stage | Title |
| --- | --- | --- |
| TC 58/SC 4 Operational requirements for gas cylinders |
| 32 | CD | Gas cylinders for medical use -- Marking for identification of content |
| 6406 | DIS | Seamless steel gas cylinders -- Periodic inspection and testing |
| 7225 | CD | Gas cylinders -- Precautionary labels |
| 10460 | DIS | Gas cylinders -- Welded carbon steel gas cylinders -- Periodic inspection and testing |
| 10461 | DIS | Seamless aluminium-alloy gas cylinders -- Periodic inspection and testing |
| 10462 | DIS | Gas cylinders -- Transportable cylinders for dissolved acetylene -- Periodic inspection and maintenance |
| 10464.2 | DIS | Gas cylinders -- Refillable welded steel cylinders for liquefied petroleum gas LPG -- Requalification and inspection |
| 10691 | FDIS | Gas cylinders -- Refillable welded steel cylinders for liquefied petroleum gas (LPG) -- Procedures for checking before, during and after filling |
| 11372 | WD | Cylinders for dissolved acetylene -- Inspection at time of filling |
| 11622 | CD | Filling ratios, filling pressures and provisions for safety devices for gas cylinders |
| 11755 | CD | Cylinders in bundles for permanent and liquefiable gases (excluding acetylene) -- Inspection at time of filling |
| 16148 | DIS | Gas cylinders -- Refillable seamless gas cylinders -- Acoustic emission testing for periodic inspection |
| 19078 | CD | Gas cylinders -- Methods for inspection and requalification of natural gas vehicle (NGV) fuel containers |
| 21007-1 | DIS | Gas cylinders -- Identification and marking using radio frequency identification technology -- Part 1: Reference architecture and terminology |
| 21007-2 | DIS | Gas cylinders -- Identification and marking using radio frequency identification technology -- Part 2: Numbering schemes for radio frequency |
| 22694 | AWI | Gas cylinders -- Methods for acceptance criteria for defects in seamless steel and aluminium monolithic cylinders at time of periodic inspection and testing |
| 24431 | CD | Cylinders for liquefied gases -- Inspection at time of filling |

__________________________