| UNITED NATIONS |  | ST |
| --- | --- | --- |
|  | Secretariat | Distr. GENERAL ST/SG/AC.10/36/Add.2/Corr.1 2 September 2009 ENGLISH Original: ENGLISH AND FRENCH |

# COMMITTEE OF EXPERTS ON THE 
TRANSPORT OF DANGEROUS GOODS AND ON THE 
GLOBALLY HARMONIZED SYSTEM OF CLASSIFICATION
AND LABELLING OF CHEMICALS

# REPORT OF THE COMMITTEE OF EXPERTS ON THE TRANSPORT OF DANGEROUS GOODS AND ON THE GLOBALLY HARMONIZED SYSTEM OF CLASSIFICATION AND LABELLING OF CHEMICALS ON ITS FOURTH SESSION

(Geneva, 12 December 2008)

# Addendum

# Annex II

Amendments to the fourth revised edition of the Recommendations on the Transport of Dangerous Goods, Manual of Tests and Criteria (ST/SG/AC.10/11/Rev.4)

Corrigendum

# 1.	Page 7, 16.6.1.4.6

# Not applicable to English

# 2.	Page 8, 16.7.1.4 (b)

# For 80 ± 3 g/m² read 80 ± 10 g/m²

# 3.	Page 10, 32.4.1, under National standards

The four ASTM standards should read

ASTM D3828-07a, Standard Test Methods for Flash Point by Small Scale Closed Cup Tester

ASTM D56-05, Standard Test Method for Flash Point by Tag Closed Cup Tester

ASTM D3278-96(2004)e1, Standard Test Methods for Flash Point of Liquids by Small Scale Closed-Cup Apparatus

ASTM D93-08, Standard Test Methods for Flash Point by Pensky-Martens Closed Cup Tester

4.	Page 11, footnote 2

Insert of the European Parliament and of the Council after No 1907/2006

5.	Page 16, paragraph 2.6, first sentence

For substance contained within the cone read top of the cone

6.	Page 16, paragraph 3.1

Delete the third sentence.

7.	Page 16, paragraph 3.1, fifth sentence

For aluminium bursting disc read brass or aluminium bursting disc

8.	Page 17, Figure A7.1

Replace Figure A7.1 with the figure below.

(A)	Fusehead

(B)	10 mm gap

(C)	Substance under test

9.	Page 18, Figure A7.2

Replace Figure A7.2 with the figure below.

10.	Page 19, Figure A7.3

Replace Figure A7.3 with the figure below.

11.	Page 20, Figure A7.4

Replace Figure A7.4 with the figure below.

12.	Page 21, Figure A7.5

Replace Figure A7.5 with the figure below.

A3			A2

13.	Page 22, Figure A7.6

Replace Figure A7.6 with the figure below.

14.	Page 22, Figure A7.7

Replace Figure A7.7 with the figure below.

15.	Page 23, before existing Figure A7.8

Insert a new Figure A7.8 reading

Figure A7.8: ASSEMBLED CONE IN PLUG

16.	Page 23, existing Figure A7.8

Renumber as Figure A7.9.

- - - - -

# Text boxes

(20

(30

(20

ST/SG/AC.10/36/Add.2/Corr.1

page 4

(40

(30

(33

(28

(20

17.5
CTRS

1" BSP

CHAM 0.5 ( 45 DEG
BOTH ENDS SAME

(12

(1.2

(6.45
(6.40

(3.05

HOLE 3.00 DIA ( 32 DEEP.
C/DRILL 3.3 DIA ( 12 DEEP.
TAP M4 ( 0.7P ( 10 DEEP.
REMOVE 1st THREAD

10 A/F

6.5 DIA TO BOTTOM OF U/CUT

CHAM 0.5 ( 45 DEG

34.3 NOM

(2.85
(2.80

(1.2

(2.1

(2.2

44 NOM

CHAM 0.5 ( 45 DEG

O/A COMBINED LENGTH OF SET SCREW
AND SLUG NOT TO EXCEED 5.5 mm

INSULATING SLUG TO BE
M/CND FROM PEEK GF 30

CHAM 0.5 ( 0.5

M3 SMALL CUP POINT HEXAGON
SOCKET SET SCREW.
END OF SET SCREW TO BE M/CND FLAT

(40

(33

(28

(20

CHAM 0.5 ( 45 DEG

25.0 DIA
GROOVE

HOLE 1.2 DIA ( 25 DEEP.
(2 POSN)

0.8 groove depth

(6.55

HOLE 6.50 DIA ( 32 DEEP.
C/DRILL 6.8 DIA ( 14 DEEP.
TAP M8 ( 0.7P ( 12 DEEP.
REMOVE 1st THREAD (1 POSN)

40 A/F

CHAM 1.0 ( 45 DEG

INITIAL MACHINING

17.5
CTRS

HOLE 2.5 DIA ( 7.8 DEEP.
TAP M3 ( 0.5P ( 7 DEEP. REMOVE 1st THREAD (1 POSN)

HOLE 3.3 DIA ( 10 DEEP.
TAP M4 ( 0.7P ( 8 DEEP. REMOVE 1st THREAD (1 POSN)

HOLE 2.5 DIA ( 7.8 DEEP.
TAP M3 ( 0.5P ( 7 DEEP.
REMOVE 1st THREAD.

1" BSP PARALLEL

M3 SMALL CUP POINT HEXAGON
SOCKET SET SCREW – 1 REQUD

MACHINING/ASSEMBLY SEQUENCE

1.	SCREW JN0003490:B2 INTO PRESSURE PLUG BODY
2.	SCREW JN0003490:A2 INTO JN0003490:B2
3.	DRILL & TAP M3 ( 0.5P  ( 7 DEEP HOLE
4.	SCREWCUT 1" BSP PARALLEL THREAD ON 
	PRESSURE PLUG BODY

(21

(6.4

(5

(18.5

(18.6

(6

(60

(20

(20

(30

(20

(20

(33

(28

(40

1" BSP

½" BSP

1" BSP

Groove

1" BSP

Groove

Groove

(A)	Pressure vessel body
(B)	Bursting disc retaining plug
(C)	Firing plug
(D)	Lead washer
(E)	Bursting disc
(F)	Side arm
(G)	Pressure transducer thread
(H)	PTFE washer
(J)	Insulated electrode
(K)	Earthed electrode
(L)	Insulator
(M)	Insulator
(N)	Shortened grub screw

48 A/F

½" BSP

NOTE
Groove dia 25 mm
Groove depth 0.8 mm

1" BSP

17.5
CTRS

17A/F

(18.6